PLUG

A Trident model #01.007.0 2.5” NH rocker lug chrome plated brass plug with chain shall be provided.