PLUG

A Trident model #01.S07.6 3.000” x 8 TPI BCT rocker lug chrome plated brass plug with restraint chain shall be provided.