PLUG

A Trident model #01.S07.32 3.250” x 5 TPI PEI rocker lug chrome plated brass plug with restraint chain shall be provided.