PLUG

A Trident model #01.S07.22 3.031” x 7 TPI QST rocker lug chrome plated brass plug with restraint chain shall be provided.