PLUG

A Trident model #01.S07.28 2.940” x 7.5 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.