PLUG

A Trident model #01.S07.27 2.953” x 7.5 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.