PLUG

A Trident model #01.S0716 3.030” x 8 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.