PLUG

A Trident model #01.S07.20 3.062” x 7 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.