PLUG

A Trident model #01.S07.3 3.078” x 8 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.