PLUG

A Trident model #01.S07.14 3.125” x 6 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.