PLUG

A Trident model #01.S07.8 3.156” x 6 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.