PLUG

A Trident model #01.S07.25 3.230” x 5 TPI NSS rocker lug chrome plated brass plug with restraint chain shall be provided.