PLUG

A Trident model #01.S07.41 3.234” x 5 TPI rocker lug chrome plated brass plug with restraint chain shall be provided.