PLUG

A Trident model #01.022.0 3” NH rocker lug chrome plated brass plug with restraint chain shall be provided.