PLUG

A Trident model #01.022.10 3” NH rocker lug chrome plated brass plug with restraint cable shall be provided.