PLUG

A Trident model #01.045.0 4” NH rocker lug chrome plated brass plug with restraint chain shall be provided.