PLUG

A Trident model #01.045.10 4” NH rocker lug chrome plated brass plug with restraint cable shall be provided.