CAP

A Trident model #01.081.0 1” NH vented rocker lug chrome plated brass cap with restraint chain shall be provided.