CAP

A Trident model #01.094.0 1” NPSH vented rocker lug chrome plated brass cap with restraint chain shall be provided.