CAP

A Trident model #01.094.10 1” NPSH vented rocker lug chrome plated brass cab with restraint cable shall be provided.