CAP

A Trident model #01.S05.1 1.933” x 11.5 TPI vented rocker lug chrome plated brass cap with restraint chain shall be provided.