CAP

A Trident model #01.050.0 2” NH vented rocker lug chrome plated brass cap with restraint chain shall be provided.