CAP

A Trident model #01.050.14 2” NH vented rocker lug chrome plated brass cap with restraint cable shall be provided.