CAP

A Trident model #01.006.0 2.5” NH vented rocker lug chrome plated brass cap with restraint chain shall be provided.