CAP

A Trident model #01.006.10 2.5” NH vented rocker lug chrome plated brass cap with restraint cable shall be provided.