CAP

A Trident model #01.S06.19 3.031” x 7 TPI QST vented rocker lug chrome plated brass cap with restraint chain shall be provided.