CAP

A Trident model #01.S06.39 2.968” x 8 TPI vented rocker lug chrome plated brass cap with restraint chain shall be provided.