CAP

A Trident model #01.S06.32 2.990” x 7.5 TPI AMA vented rocker lug chrome plated brass cap with restraint chain shall be provided.