CAP

A Trident model #01.S06.8 3.000” x 8 TPI BCT vented rocker lug chrome plated brass cap with restraint chain shall be provided.