CAP

A Trident model #01.S06.25 3.062” x 6 TPI vented rocker lug chrome plated brass cap with restraint chain shall be provided.