CAP

A Trident model #01.S06.5 3.125” x 7.5 TPI vented rocker lug chrome plated brass cap with restraint chain shall be provided.