CAP

A Trident model #01.S06.22 3.230” x 5 TPI NSS vented rocker lug chrome plated brass cap with restraint chain shall be provided.