CAP

A Trident model #01.S06.18 3.340” x 6 TPI vented rocker lug chrome plated brass cap with restraint chain shall be provided.