CAP

A Trident model #01.015.10 3” NH vented rocker lug chrome plated brass cap with restraint cable shall be provided.