CAP

A Trident model #01.043.0 3.5” NH vented rocker lug chrome plated brass cap with restraint chain shall be provided.