CAP

A Trident model #01.043.10 3.5” NH vented rocker lug chrome plated brass cap with restraint cable shall be provided.