CAP

A Trident model #01.021.6 4” NH vented rocker lug chrome plated brass cap with restraint chain shall be provided.