CAP

A Trident model #01.021.10 4” NH vented rocker lug chrome plated brass cap with restraint cable shall be provided.