CAP

A Trident model #01.009.36 5” NH vented rocker lug chrome plated brass cap with restraint cable shall be provided.