CAP

A Trident model #01.003.42 6” NH vented rocker lug chrome plated brass cap with restraint cable shall be provided.