LONG HANDLE CAP

A Trident model #01.003.0 6” NH long handle chrome plated brass cap shall be provided.