ELBOW

A Trident model #01.010.0 2.5” NH female swivel x 2.5” NH male chrome plated brass 30 degree elbow shall be provided.