ELBOW

A Trident (model #01.071.0) 2.5” NH female swivel x 3” NH male chrome plated brass 45 degree elbow shall be provided.