ELBOW

A Trident model #01.S10.3 2.5” female NH swivel x 3.000” x 5 8PI male BCT chrome plated brass 30 degree elbow shall be provided.