ELBOW

A Trident model #01.S10.16 2.841” x 8PTI female NPSH swivel x 3.125” x 5 TPI male chrome plated brass 30 degree elbow shall be provided.