ELBOW

A Trident model #01.S10.30 2.5” NH female swivel x 3.250” x 5 TPI PEI male chrome plated brass 30 degree elbow shall be provided.