ELBOW

A Trident model #01.S02.18 2.5” NH female swivel x 2.990” x 8TPI AMA male chrome plated brass 45 degree elbow shall be provided.