ELBOW

A Trident model #01.S02.16 2.5” NH female swivel x 3.125” x 5TPI CSA male chrome plated brass 45 degree elbow shall be provided.