ELBOW

A Trident (model #01.S10.11) 2.5” NH female swivel x 3.022” x 7 TPI male chrome plated brass 30 degree elbow shall be provided.