ELBOW

A Trident (model #01.S10.7) 2.5” NH female swivel x 3.030” x 8 TPI male chrome plated brass 30 degree elbow shall be provided.